المــــــــــركز الوطــــــــــني لضمـــــــان جـــــــــودة واعتمــــــــاد المــــــــؤسسات التعليميـــــــــة و التـــــــــــدريبية

المتطلبات الأكاديمية للمقرر الدراسي

اسم المؤسسة التعليمية:   Dorob al itussm Institute for Medical Sciences

اسم البرنامج التعليمي:Medical Laboratories

اسم المقرر: أجهزة ومراقبة نوعية Instrumentation & Quality control

رمز المقرر:   MLT 127

الفصل/العام الدراسي:      2025

المتطلبات الأكاديمية للمقرر الدراسي

- معلومات عامــــــــــــــــة:

| 1 | اسم المقرر الدراسي | Instrumentation & Quality control |
| --- | --- | --- |
| 2 | رمز المقرر | MLT 127 |
| 3 | منسق المقرر |  |
| 4 | القسم / الشعبة التي تقدم البرنامج | Medical laboratories |
| 5 | الأقسام العلمية ذات العلاقة بالبرنامج | - |
| 6 | الساعات/الوحدات الدراسية للمقرر | 4/3/week |
| 7 | اللغة المستخدمة في العملية التعليمية | English |
| 8 | السنة الدراسية/ الفصل الدراسي | Second Semester |
| 9 | تاريخ وجهة اعتماد المقرر | DD/MM/YYYY |

  - عدد الساعات الأسبوعية:

2

4

2

0

محاضرات       معامل                    تدريب  	          المجموع

  - نوع المقرر

| عام |  | تخصصي |  | اختياري |  | داعم |  |
| --- | --- | --- | --- | --- | --- | --- | --- |

### 2. Course Objectives

Upon completion of this course, students will be able to:

- Explain the basic principles, components, and operation of common instruments used in medical laboratories.

- Perform routine maintenance, calibration, and quality control procedures for laboratory instruments.

- Apply statistical methods to evaluate quality control data and assess instrument performance.

- Troubleshoot common instrument malfunctions and recognize when professional service is required.

- Implement quality assurance protocols to ensure accurate, reliable, and precise laboratory results.

- Demonstrate proper documentation practices for instrument maintenance and quality control activities.

### 3. Intended Learning Outcomes (ILOs)

#### A. Knowledge and Understanding

| Code | Outcome |
| --- | --- |
| A.1 | Describe the basic principles and components of common laboratory instruments. |
| A.2 | Explain the concepts of accuracy, precision, sensitivity, and specificity in instrument performance. |
| A.3 | Outline quality control procedures and statistical tools used in laboratory medicine. |
| A.4 | Identify common sources of error in laboratory instruments and testing procedures. |
| A.5 | Recall regulatory requirements and accreditation standards for laboratory quality systems. |

#### B. Mental Skills

| Code | Outcome |
| --- | --- |
| B.1 | Analyze quality control data using statistical methods (mean, SD, CV, control charts). |
| B.2 | Evaluate instrument performance based on calibration and quality control results. |
| B.3 | Troubleshoot common instrument problems by systematic analysis. |
| B.4 | Interpret Westgard rules and other quality control rules for result validation. |
| B.5 | Select appropriate instruments and methods for specific laboratory applications. |

#### C. Practical and Professional Skills

| Code | Outcome |
| --- | --- |
| C.1 | Perform routine maintenance procedures on common laboratory instruments. |
| C.2 | Conduct calibration and verification of laboratory equipment. |
| C.3 | Prepare and analyze quality control materials and record results. |
| C.4 | Operate basic laboratory instruments safely and efficiently. |
| C.5 | Document all instrument maintenance and quality control activities accurately. |

#### D. General and Transferable Skills

| Code | Outcome |
| --- | --- |
| D.1 | Communicate instrument performance and quality control findings clearly. |
| D.2 | Collaborate effectively in laboratory teams for instrument troubleshooting. |
| D.3 | Utilize technical manuals, SOPs, and reference materials for instrument operation. |
| D.4 | Apply systematic problem-solving approaches to instrument-related issues. |
| D.5 | Demonstrate professional responsibility in maintaining instrument integrity and data quality. |

### 4. Course Contents (Weekly Schedule - 16 Weeks)

| Week | Theory Topics (2 hours/week) | Practical / Lab Work (2 hours/week) | Total Weekly Hours |
| --- | --- | --- | --- |
| Week 1 | Introduction to Laboratory Instrumentation & Quality Systems | Laboratory Safety & Instrument Familiarization | 4 |
| Week 2 | Principles of Measurement: Accuracy, Precision, Error | Use of Analytical Balances & Volumetric Glassware | 4 |
| Week 3 | Spectrophotometry: Principles & Applications | UV-Vis Spectrophotometer Operation & Calibration | 4 |
| Week 4 | Centrifugation & Separation Techniques | Centrifuge Operation & Maintenance | 4 |
| Week 5 | pH Measurement & Electrochemistry | pH Meter Calibration & Electrode Care | 4 |
| Week 6 | Microscopy: Types & Applications in Medical Labs | Microscope Maintenance & Kohler Illumination | 4 |
| Week 7 | Introduction to Automated Analyzers | Demonstration of Semi-Automated Chemistry Analyzer | 4 |
| Week 8 | Midterm Exam (Theory + Practical) |  | - |
| Week 9 | Quality Control Fundamentals & Statistics | Calculation of Mean, SD, CV & Preparation of QC Charts | 4 |
| Week 10 | Control Charts & Westgard Rules | Application of Westgard Rules to QC Data | 4 |
| Week 11 | Calibration & Verification Procedures | Instrument Calibration Exercises | 4 |
| Week 12 | Preventive Maintenance & Troubleshooting | Basic Troubleshooting of Common Instrument Problems | 4 |
| Week 13 | Quality Assurance & Laboratory Accreditation | Documentation of QC & Maintenance Activities | 4 |
| Week 14 | Method Validation & Evaluation | Method Comparison & Linearity Studies | 4 |
| Week 15 | Regulatory Requirements & Safety Standards | Review of CLSI, ISO, & Local Regulatory Standards | 4 |
| Week 16 | Final Examinations |  | - |
| Total Hours | 32 Theory Hours | 32 Practical Hours | 64 Hours |

### 5. Teaching and Learning Methods

- Interactive Lectures: Using instrument diagrams, flowcharts, and case studies.

- Hands-On Laboratory Sessions: Practical training with actual laboratory instruments.

- Demonstrations: Live demonstrations of instrument operation, calibration, and troubleshooting.

- Case-Based Learning: Analysis of QC data and instrument performance scenarios.

- Workshops: Statistical calculation sessions and QC chart preparation.

- Simulation Exercises: Virtual instrument operation and troubleshooting simulations.

- Small Group Activities: Collaborative problem-solving of instrument-related issues.

- E-Learning Resources: Virtual instrument manuals, QC software, and regulatory guideline databases.

### 6. Assessment Methods

| Assessment Method | Date of Assessment | Weight |
| --- | --- | --- |
| Quizzes & In-Class Activities | Throughout Semester | 10% |
| Practical Skills Assessments | Throughout Semester | 30% |
| Midterm Exam (Theory + Practical) | Mid-Semester | 20% |
| Instrument & QC Portfolio | End of Semester | 20% |
| Final Exam (Theory + Practical) | End of Semester | 20% |
| Total |  | 100% |

### 7. References and Periodicals

| Type | Title | Author(s) | Publisher | Edition |
| --- | --- | --- | --- | --- |
| Core Textbook | Clinical Laboratory Instrumentation and Automation | Kaplan, L.A., Pesce, A.J., & Kazmierczak, S.C. | Oxford University Press | Latest |
| Core Textbook | Basic Quality Control Practices | Westgard, J.O. | Westgard QC | Latest |
| Practical Guide | Laboratory Instrumentation | Brown, R.B. | Prentice Hall | Latest |
| Quality Guide | Quality Management in the Medical Laboratory | Naidu, N.U. & Rao, T.N. | Jaypee Brothers | Latest |
| Regulatory Guide | CLSI Guidelines (Various) | Clinical and Laboratory Standards Institute | CLSI | Latest |
| Journal | Clinical Laboratory Management Review | - | Clinical Laboratory Management Association | - |

### 8. Facilities and Resources Required

- Lecture Hall: Equipped with multimedia for instrument schematics and data presentation.

- Instrumentation Laboratory:

  - Spectrophotometers: UV-Vis spectrophotometers for calibration and operation practice

  - Centrifuges: Various types for maintenance and operation training

  - pH Meters & Electrochemistry: Equipment for measurement and calibration

  - Microscopes: For maintenance and illumination adjustment

  - Semi-Automated Analyzers: For demonstration and basic operation

- Computer Laboratory: With statistical software for QC data analysis.

- QC Materials: Commercial control sera at different levels for practical exercises.

- Maintenance Kits: Basic tools and supplies for instrument maintenance demonstrations.

- Documentation Supplies: Log books, calibration records, and QC chart templates.

- Virtual Learning Environment (VLE): For instrument manuals, SOPs, case studies, and discussion forums.

- Safety Equipment: PPE appropriate for instrument maintenance activities.

منسق المقرر...........................................     التوقيع ..................................

منسق البرنامج..........................................    التوقيع ...................................

التاريخ....../......../........م

مصفوفة المقرر الدراسي: أجهزة ومراقبة نوعية/ Instrumentation & Quality control (MLT 127)

| الأسبوع الدراسي | (A)المعرفة والفهم |  |  |  |  | المهــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــارات |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | (B)المهارات الذهنية |  |  |  |  | (C)المهارات العلمية والمهنية |  |  |  |  | (D المهارات العامة |  |  |  |  |
|  | A1 | A2 | A3 | A4 | A5 | B1 | B2 | B3 | B4 | B5 | C1 | C2 | C3 | C4 | C5 | D1 | D2 | D3 | D4 | D5 |
| 1 | √ | √ |  | √ | √ |  |  |  |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 2 | √ | √ | √ | √ |  | √ | √ |  |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 3 | √ | √ | √ | √ |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 4 | √ | √ | √ | √ |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 5 | √ | √ | √ | √ |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 6 | √ | √ | √ | √ |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 7 | √ | √ | √ | √ |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 8 |  |  |  |  |  | Midterm Exam |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 10 | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 11 | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 12 | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 13 | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 14 | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 15 | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |
| 16 |  |  |  |  |  | Final Exam |  |  |  |  |  |  |  |  |  |  |  |  |  |  |